## Book1
aa | s01 | circuit_breaker_motor_protection | siemens 3rv1011 - 1ea15 (2.8 - 4 a) | 2 | 1 | pcs
aa | s01 | circuit_breaker_motor_protection | siemens 3rv1021 - 4aa15 (11-16 a) | 1 | 1 | pcs
aa | s01 | circuit_breaker_motor_protection | siemens 3rv1011 - 1ca15 (1.8-2.6 a) | 1 | 0 | pcs
aa | s01 | circuit_breaker_motor_protection | siemens 3rv1011 - 0ha15 (0.66 - 0.8 a) | 1 | 1 | pcs
aa | s01 | circuit_breaker_motor_protection | siemens 3rv1011 - 1da15 (2.2 - 3.2 a) | 1 | 1 | pcs
aa | s01 | mcb_1_phase | siemens 5sy61 c4 | 12 | 0 | pcs
aa | s01 | mcb_1_phase | siemens 5sy61 c6 | 3 | 0 | pcs
aa | s01 | profisafe_digital_input | siemens 6es7 138-4fa04-0ab0 et200s 4/8 24v | 1 | 1 | pcs
aa | s01 | profisafe_digital_output | siemens 6es7138-4fb03-0ab0 et200s 4 f-do 24v | 10 | 1 | pcs
aa | s01 | digital_input | siemens 6es7 131-4bd01-0aa0 et200s 4di standard 24v dc | 1 | 1 | pcs
aa | s01 | digital_output | siemens 6es7 132-4bd02-0aa0 et200s 4 do standard 24 v dc/0.5 a | 2 | 1 | pcs
aa | s01 | interface_module | siemens 6es7 151-1ba02-0ab0 et200s dp im151-1 | 1 | 1 | pcs
aa | s01 | auxiliary_switch_block | siemens 3rh1921-1ha22 2 no 2 nc. 4-pole. screw terminal. for motor contactors. size s0 .. s3 | 2 | 0 | pcs
aa | s01 | contactor | 3rt1017-1ap01 (ac) | 1 | 0 | pcs
aa | s01 | contactor | 3rh1262-1ap00 (ac) | 1 | 0 | pcs
aa | s01 | contactor | 3rt1024-1b…4 (dc) | 3 | 0 | pcs
aa | s01 | contactor | 3rh1140-1bb40 (dc) | 2 | 0 | pcs
aa | s01 | contactor | 3rt1026-1b…4 (dc) | 1 | 0 | pcs
aa | s01 | contactor | 3rt1017-1bb42 (dc) | 1 | 0 | pcs
aa | s01 | analog_input | 6es7 134-4bl02-0ab0 | 1 | 0 | pcs
aa | s01 | power_module | 6es7 138-4ca01-0aa0 (24 vdc) | 3 | 0 | pcs
aa | s01 | sensor_module_cabinet | 6sl3055-0aa00-5ba3 (24vdc / 0.6 a) | 1 | 1 | pcs
aa | s01 | switch_disconnector | siemens 3ke4330-0ca | 1 | 0 | pcs
aa | s01 | output_interface | siemens 3tx7002-1ab00 (24 vdc) | 3 | 1 | pcs
aa | s01 | output_interface | phoenix contact mcr-c-ui-ui-dci no2810913 (18-30 vdc) | 1 | 1 | pcs
aa | s01 | fuse_holder | wohner 690vac 160a iec 60947-3 | 4 | 0 | pcs
aa | s01 | nh_fuse | siba 25a | 3 | 0 | pcs
aa | s01 | nh_fuse | siba 20a | 3 | 0 | pcs
aa | s01 | nh_fuse | bussmann 25a | 2 | 2 | pcs
aa | s01 | nh_fuse | siemens 25a | 4 | 0 | pcs
aa | s02 | active_interface_module | siemens 6sl3100-0be28-0ab0 | 1 | 0 | pcs
aa | s02 | contactor | 3rt1056-6ap36 (215 a ) | 1 | 1 | pcs
aa | s02 | contactor | 3rt1017-1bb443ma0 | 1 | 0 | pcs
aa | s02 | auxiliary_switch_block | 3rh1921-1ha22 | 1 | 0 | pcs
aa | s02 | line_reactor | etku art.nr.168-0014 | 1 | 0 | pcs
aa | s02 | power_supply | block pvse 400/24-40 | 1 | 0 | pcs
aa | s02 | power_supply | sitop psu 300m 48/10 6ep1456-3ba00 | 1 | 0 | pcs
aa | s02 | active_line_module | siemens 1p 6sl3130-7te28-0aa3 | 1 | 1 | pcs
aa | s02 | single_motor_module | siemens 1p 6sl3120-1te28-5aa3 (85a) | 1 | 0 | pcs
aa | s02 | single_motor_module | siemens 1p 6sl3120-1te15-0aa3 (5a) | 1 | 1 | pcs
aa | s02 | double_motor_module | siemens 1p 6sl3120-2te13-0aa3 (3a) | 1 | 0 | pcs
aa | s02 | double_motor_module | siemens 1p 6sl3120-2te21-0aa3 (9a) | 1 | 0 | pcs
aa | s02 | nh_fuse | siba 160a | 3 | 0 | pcs
aa | s07 | single_motor_module | siemens 1p 6sl3120-1te13-0aa4 ( 3a ) | 1 | 1 | pcs
aa | s07 | single_motor_module | siemens 1p 6sl3120-1te23-0aa3 ( 30 a ) | 1 | 0 | pcs
aa | s07 | circuit_breaker_motor_protection | siemens 3rv1011-1aa15 (1.1 - 1.6 a ) | 1 | 0 | pcs
aa | s07 | circuit_breaker_motor_protection | siemens 3rv1011-1ba15 (1.4 - 2 a ) | 1 | 0 | pcs
aa | s07 | circuit_breaker_motor_protection | siemens 3rv1011-0ha15 ( 0.55 - 0.8 a ) | 2 | 0 | pcs
aa | s07 | contactor | 3rt1017-1bb42 (dc) | 7 | 0 | pcs
aa | s07 | output_interface | 3tx7002-1bb00 ( 24vdc ) | 2 | 0 | pcs
aa | s07 | sinamics_drive-cliq_hub_module_cabinet | siemens 6sl3055-0aa00-6aa0 | 6 | 1 | pcs
aa | s07 | sensor_module_cabinet | siemens 6sl3055-0aa00-5ba2 | 2 | 1 | pcs
aa | s07 | emergency_switch | zbe-102 ᴓ 22 mm | 1 | 0 | pcs
aa | s07 | double_motor_module | siemens 1p 6sl3120-2te21-0aa3 ( 9 a ) | 4 | 0 | pcs
aa | s07 | double_motor_module | siemens 1p 6sl3120-2te13-0aa3 ( 3 a ) | 1 | 1 | pcs
aa | s07 | double_motor_module | siemens 1p 6sl3120-2te21-8aa3 ( 18 a ) | 2 | 0 | pcs
aa | s08 | power_supply | sitop modular 24/40 6ep1437-3ba00 | 1 | 1 | pcs
aa | s08 | power_supply | block pvse 400/24-40 a | 2 | 1 | pcs
aa | s08 | digital_output | 6es7 132-4bd02-0aa0 | 9 | 2 | pcs
aa | s08 | single_motor_module | siemens 6sl3120-1te23-0aa3 ( 30 a ) | 2 | 0 | pcs
aa | s08 | single_motor_module | siemens 6sl3120-1te31-3aa3 ( 132 a ) | 1 | 0 | pcs
aa | s08 | circuit_breaker_motor_protection | siemens 3rv1011 - 0ea15 (0.28 - 0.4 a ) | 2 | 0 | pcs
aa | s08 | circuit_breaker_motor_protection | siemens 3rv1011 - 0ha15 (0.66 - 0.8 a) | 1 | 0 | pcs
aa | s08 | circuit_breaker_motor_protection | siemens 3rv1011 - 1ea15 (2.8 - 4 a) | 4 | 0 | pcs
aa | s08 | mcb_1_phase | schneider c60h | 3 | 0 | pcs
aa | s08 | mcb_1_phase | siemens c4 a | 12 | 0 | pcs
aa | s08 | contactor | 3rt1017-1bb42 (dc) | 3 | 0 | pcs
aa | s08 | interface_module | 6es7 151-1aa05-0ab0 | 1 | 1 | pcs
aa | s08 | power_module | 6es7 138-4ca01-0aa0 (24 vdc) | 1 | 1 | pcs
aa | s09 | control_unit | 6sl3040-0ma00-0aa1 | 12 | 0 | pcs
aa | s09 | analog_input | 6es7 134-4bl02-0ab0 | 1 | 1 | pcs
aa | s09 | digital_input | 6es7 131-4bd01-0aa0 | 36 | 1 | pcs
aa | s09 | interface_module | 6es7 151-1aa05-0ab0 | 1 | 1 | pcs
aa | s09 | power_module | 6es7 138-4ca01-0aa0 (24 vdc) | 1 | 1 | pcs
aa | s09 | repeater | 6es7 972-0aa01-0xa0 | 1 | 0 | pcs
aa | s09 | double_motor_module | siemens 1p 6sl3120-2te21-8aa3 (18 a) | 2 | 0 | pcs
aa | s09 | double_motor_module | siemens 1p 6sl3120-2te21-0aa3 ( 9 a ) | 4 | 0 | pcs
aa | s09 | single_motor_module | siemens 1p 6sl3120-1te23-0aa3 ( 30 a ) | 1 | 0 | pcs
aa | s09 | push_button_block | zbe-101 ᴓ 22 mm | 1 | 0 | pcs
aa | s09 | emergency_switch | zbe-102 ᴓ 22 mm | 1 | 0 | pcs
aa | s09 | relay_emergency_block | ssw-40-12-2 | 4 | 1 | pcs
aa | operator | emergency_switch |  | 1 | 1 | pcs
aa | operator | key_switch_non_iluminate |  | 2 | 0 | pcs
aa | operator | push_button_block |  | 3 | 1 | pcs
aa | operator | push_button_block |  | 8 | 1 | pcs
aa | operator | selector_switch |  | 5 | 1 | pcs
aa | operator | selector_switch |  | 1 | 0 | pcs
aa | operator | push_button_lamp |  | 3 | 0 | pcs
aa | operator | push_button_block |  | 1 | 0 | pcs
aa | operator | pilot_lamp |  | 1 | 0 | pcs
aa | operator | push_button_block |  | 1 | 0 | pcs
aa | operator | selenoid_valve | norgren shu vs26s527df313a | 5 | 1 | pcs
aa | operator | selenoid_valve | norgren sku vs26s522df313a | 2 | 1 | pcs
aa | operator | selenoid_valve | norgren smu vs26s622df313a vs2616m00301 | 7 | 1 | pcs
aa | operator | start_dump_valve | norgren vsp150122 24vdc 3-10 bar | 1 | 0 | pcs
aa | operator | base_plate_valve | norgren vzs2606m00300 | 1 | 0 | pcs
aa | operator | proportional_valve | norgren | 1 | 0 | pcs
aa | operator | proportional_valve | sentronic 608160111 24vdc 0.85a 9bar | 13 | 1 | pcs
aa | operator | bus_transmitter | x20 bt9100 | 1 | 0 | pcs
aa | operator | control_module_profibus | x20 bc0063 |  | 0 | pcs
aa | operator | bus_module_supply | x20 bb 80 | 1 | 0 | pcs
aa | operator | bus_transmitter | x20 bt9400 | 1 | 0 | pcs
aa | operator | supply_bus_controller | x20 ps 9400 | 1 | 1 | pcs
aa | operator | plc | s7-300 cpu317f-2pn/dp 317-2fk14-0ab0 | 1 | 0 | pcs
aa | operator | power_supply | sitop psu200m 24/5 6ep1333-3ba10 | 1 | 0 | pcs
aa | operator | air_conditioner_panel | pfannenberg dts 9011h | 1 | 0 | pcs
aa | operator | analog_output | 6es7135-4fb01-0ab0 | 6 | 0 | pcs
aa | operator | digital_output | 6es7 132-4bd02-0aa0 | 3 | 0 | pcs
aa | operator | digital_input | 6es7 131-4bd01-0aa0 | 9 | 0 | pcs
aa | operator | interface_module | 6es7-151-1aa05-0ab0 | 1 | 0 | pcs
aa | operator | power_module | 6es7 138-4ca01-0aa0 | 4 | 0 | pcs
aa | operator | monitor | prolite t1931sr plt1900 |  | 0 | pcs
aa | operator | fan_panel | nmb-mat 4715ms-23t-b5a | 1 | 0 | pcs
aa | operator | computer | beckhoff c6920-1015 | 1 | 1 | pcs
aa | unwinder | limit_switch | telemecanique osiswitch (zcp21+zce02) | 1 | 2 | pcs
aa | unwinder | fan_motor | ziehl-abegg gr25v-6ik.bf.1r 114182 30719413 | 1 | 0 | pcs
aa | unwinder | sensor_edge_guide | sug 70-b-viet-j sitron | 1 | 1 | pcs
aa | unwinder | proximity_sensor | pulsotronic 9964-4465 | 2 | 0 | pcs
aa | unwinder | ac_servo_synchronous_motor | 1fk7015-5ak71-1jh3 | 1 | 0 | pcs
aa | unwinder | ac_induction_motor | 1ph7 184-7qd140ga3 | 1 | 0 | pcs
aa | unwinder | ac_servo_synchronous_motor | 1fk7042-5af71-1kv5-z | 1 | 1 | pcs
aa | unwinder | ac_servo_synchronous_motor | 1fk7042-5af71-1kv5-z | 1 | 0 | pcs
aa | unwinder | proximity_magnetic_sensor | norgren spc 000232 (camozzi cst-232) | 2 | 0 | pcs
aa | unwinder | proximity_magnetic_sensor | norgren spc 000232 | 2 | 0 | pcs
aa | unwinder | sensor_reflex | wenglor hd11pc3 | 1 | 0 | pcs
aa | unwinder | emergency_switch | zbe-102 ᴓ 22 mm | 2 | 0 | pcs
aa | transfer_roll | ac_induction_motor | bauer bk 10-71v/d08ma4. no. z 25606848-1. 0.55kw/1.6a | 1 | 0 | pcs
aa | transfer_roll | sensor_angle | elobau 424b19a03001 | 1 | 1 | pcs
aa | transfer_roll | ac_servo_synchronous_motor | 1fk7083-5af71-1ua3-z | 1 | 0 | pcs
aa | transfer_roll | ac_induction_motor | h7 1b/4, 0.37kw, 1470 rpm, 1.2a | 1 | 0 | pcs
aa | transfer_roll | selector_switch | zbe-101 ᴓ 22 mm | 9 | 0 | pcs
aa | transfer_roll | selector_switch | zbe-101 ᴓ 22 mm | 1 | 0 | pcs
aa | transfer_roll | proximity_magnetic_sensor | norgren spc 000232 | 2 | 0 | pcs
aa | transfer_roll | proximity_sensor | pulsotronic 9984-2065 | 1 | 0 | pcs
aa | transfer_roll | emergency_switch | zbe-102 ᴓ 22 mm | 2 | 0 | pcs
aa | rewinder | ac_servo_synchronous_motor | 1fk7022-5ak71-1vh3 | 16 | 2 | pcs
aa | rewinder | gearbox | hpg-14a-45-bl3 | 16 | 0 | pcs
aa | rewinder | ac_servo_synchronous_motor | 1fk7032-5ak71-1vh0 | 8 | 3 | pcs
aa | rewinder | gearbox | spn uz-45 | 8 | 0 | pcs
aa | rewinder | ac_induction_motor | 1pl6 184-7qd030aa3 | 1 | 1 | pcs
aa | rewinder | ac_induction_motor | 1ph7133-7qd02-0ba3 | 1 | 1 | pcs
aa | rewinder | ac_induction_motor | 1ph7133-7qd02-0ba3 | 1 | 0 | pcs
aa | rewinder | ac_servo_synchronous_motor | 1fk7022-5ak71-1vg3 | 1 | 1 | pcs
aa | rewinder | ac_servo_synchronous_motor | 1fk7105-5af71-1kh3 | 1 | 0 | pcs
aa | rewinder | ac_servo_synchronous_motor | 1fk7105-5af71-1kh3 | 1 | 0 | pcs
aa | rewinder | ac_servo_synchronous_motor | 1fk7101-5ac71-1ug3-z | 8 | 1 | pcs
aa | rewinder | ac_servo_synchronous_motor | 1fk7103-5aa71-1ug3-z | 8 | 1 | pcs
aa | rewinder | sensor_beam_receiver | ipf pe991379 | 2 | 1 | pcs
aa | rewinder | sensor_beam_transmitter | ipf ps991378 | 2 | 1 | pcs
aa | rewinder | fan_motor | w2d210-eb10-19 | 2 | 0 | pcs
aa | rewinder | fan_motor | ziehl-abegg rf22p-2dk-3f-5r | 1 | 0 | pcs
aa | rewinder | proximity_sensor | pulsotronic 9964-4465 | 4 | 0 | pcs
aa | rewinder | proximity_sensor | pulsotronic 9964-4465 | 2 | 0 | pcs
aa | rewinder | proximity_sensor | pulsotronic 37296/930-200 | 1 | 0 | pcs
aa | rewinder | contactor | siemens 3rt1026-1kb4..0 | 24 | 4 | pcs
aa | rewinder | auxiliary_switch_block | 3 rh1921-1ca01 | 72 | 0 | pcs
aa | rewinder | auxiliary_switch_block | 3 rh1921-1ca10 | 24 | 20 | pcs
aa | rewinder | static_eliminator | simco powermax easy speed | 6 | 0 | pcs
aa | rewinder | limit_switch | telemecanique osiswitch (zc21+zcy18) | 2 | 1 | pcs
aa | rewinder | proximity_magnetic_sensor | norgren m50/eap/cp | 24 | 1 | pcs
aa | rewinder | limit_switch | telemecanique osiswitch (zc21+zcy18) | 4 | 1 | pcs
aa | trolly_jumbo | ac_induction_motor | siemens 1le1002-1cb23-4ja0 | 1 | 0 | pcs
aa | trolly_jumbo | ac_induction_motor | atb af 71/2c-11 221589201-x 0016 | 1 | 0 | pcs
aa | trolly_jumbo | ac_induction_motor | sew-eurodrive faz77 drs80m4ee05/tf/dh 01.1355651801000110 | 1 | 0 | pcs
aa | trolly_jumbo | output_interface | 3tx7002-1ab00 | 6 | 2 | pcs
aa | trolly_jumbo | limit_switch | telemecanique osiswitch (zc21+zcy18) | 2 | 1 | pcs
aa | trolly_jumbo | digital_input | 6es7 131-4bd01-0aa0 | 4 | 1 | pcs
aa | trolly_jumbo | power_module | 6es7 138-4ca01-0aa0 (24 vdc) | 2 | 1 | pcs
aa | trolly_jumbo | interface_module | 6es7-151-1aa05-0ab0 | 1 | 1 | pcs
aa | trolly_jumbo | digital_output | 6es7 132-4bd02-0aa0 | 2 | 1 | pcs
aa | trolly_jumbo | encoder | leine linde rsa 608 s/n 30102486 | 1 | 1 | pcs
aa | trolly_jumbo | sensor_reflex | wenglor hd11pc | 1 | 1 | pcs
aa | trolly_jumbo | proximity_sensor | pepperl+fuchs nbb5-18gm50-e2-v1 10-30v | 1 | 1 | pcs
aa | trolly_jumbo | proximity_sensor | pulsotronic 9964-4465 | 3 | 0 | pcs
aa | trolly_jumbo | proximity_sensor | pulsotronic 9964-4465 | 1 | 0 | pcs
aa | trolly_jumbo | proximity_sensor | pulsotronic 9964-4465 | 1 | 0 | pcs
aa | trolly_jumbo | proximity_sensor | pulsotronic sj6-m12mb68-dpo-v2 | 1 | 0 | pcs
aa | trolly_jumbo | safety_bumper | long | 4 | 0 | pcs
aa | trolly_jumbo | safety_bumper | medium | 2 | 0 | pcs
aa | trolly_jumbo | safety_bumper | small 1 | 4 | 0 | pcs
aa | trolly_jumbo | safety_bumper | small 2 | 2 | 0 | pcs
aa | trim_os_ds | digital_input | 6es7 131-4bd01-0aa0 | 7 | 1 | pcs
aa | trim_os_ds | analog_input | 6es7 134-4bl02-0ab0 | 1 | 1 | pcs
aa | trim_os_ds | digital_output | 6es7 132-4bd02-0aa0 | 1 | 1 | pcs
aa | trim_os_ds | analog_output | 6es7135-4fb01-0ab0 | 1 | 1 | pcs
aa | trim_os_ds | power_module | 6es7 138-4ca01-0aa0 (24 vdc) | 1 | 1 | pcs
aa | trim_os_ds | interface_module | 6es7-151-1aa05-0ab0 | 1 | 1 | pcs
aa | trim_os_ds | proportional_valve | sentronic 608160111 24vdc 0.85a 9bar | 2 | 1 | pcs
aa | trim_os_ds | sensor_angle | elobau 424b19a06001 | 2 | 1 | pcs
aa | trim_os_ds | push_button_block | zbe-102 ᴓ 22 mm | 2 | 0 | pcs
aa | trim_os_ds | push_button_block | zbe-101 ᴓ 22 mm | 2 | 0 | pcs
aa | trim_os_ds | push_button_block | zbe-101 ᴓ 22 mm | 2 | 0 | pcs
aa | trim_os_ds | push_button_block | zbe-102 ᴓ 22 mm | 2 | 0 | pcs
aa | trim_os_ds | ac_induction_motor | bauer bg06-11/d05la4-s/e003b9 | 2 | 0 | pcs
aa | trim_os_ds | ac_servo_synchronous_motor | 1fk7101-5af71-1ug3 | 2 | 0 | pcs
aa | trim_os_ds | ac_servo_synchronous_motor | 1fk7015-5ak71-1jh3 | 2 | 0 | pcs
aa | trolly_fg | ac_induction_motor | cheng day 0.4 kw, 380 v, 1420 rpm, 1.6a, ip=44, serial no ust 10000425 | 4 | 0 | pcs
aa | trolly_fg | mcb_3_phase | 6 amp | 1 | 0 | pcs
aa | trolly_fg | transformator | 380 vac to 220vac | 1 | 0 | pcs
aa | trolly_fg | contactor | lc1d09 .220vac .9 a | 2 | 1 | pcs
aa | trolly_fg | auxiliary_switch_block | ladn11 .10 a | 2 | 1 | pcs
aa | trolly_fg | push_button_block | zbe-101 | 2 | 1 | pcs
aa | trolly_fg | push_button_block | zbe-102 | 1 | 1 | pcs
aa | trolly_fg | chain_cable_carier | series 2500-03-055 | 15 | 0 | meter
aa | trolly_fg | cable | n2xy 4 x 2.5 mm | 15 | 0 | meter
aa | trolly_fg | limit_switch | omron type wlca 12-2n | 2 | 1 | pcs
aa | trolly_fg | circuit_breaker_motor_protection | siemens 3rv1011 - 1da15 (2.2 - 3.2 a) | 1 | 0 | pcs
Note on F141: Haris: Datang, beda tipe